KaonLT Meeting 03/05/2022
(notes by Stephen Kay and Garth Huber)

Present
- Garth Huber
- Stephen Kay
- Muhammad Junaid
- Nathan Heinrich
- Love Preet
- Vijay Kumar
- Jacob Murphy
- Ali Usman
- Richard Trotta
- Julie Roche
- Pete Markowitz
- Dave Gaskell (30 min late)
Richard
- Starts off with plans by end of this summer:
  - Efficiencies and offsets
  - First iteration of cross sections with Bill’s L/T-separation code
- Getting Coin script up and running – pushing soon
- Singles script up and running on the farm
- One setting for 10.6 HeeP Coin
  - Need to scale SIMC to data by about 30%, this is concerning as the elastic cross section in SIMC should be accurate, so this needs to be eventually understood. Note that efficiencies (unspecified which ones) were already applied to these data.
  - HMS xptar has large tail on right edge of distribution not reproduced by SIMC
    - Vijay does not recall seeing this in his data
  - HMS yptar has a slight dip in the centre of the spectrum
    - Jacob suggests it could be HMS optics matrix issue, as the data are at 6.590 GeV/c, and xptar saw the largest change
    - Also need to double check whether the cuts are identical between data and SIMC
- Two week plan: Complete Heep singles and coin for 10.6 GeV
  - For Coin, need to look at why normalisation is so far off
  - Check optical matrix
  - Efficiencies
Ali
- Fixed nearly everything in standard.kinematics for 6.2, 8.2 and 10.6 GeV beam energies
  - doing a few last checks before pushing
- 6.2 HeeP singles spectrometer log posts were missing from hclog
  - Added now
- 10.6 GeV Physics and HeeP setting run# were mixed up in standard.kinematics some spots
- Procedure for fixing errors in standard.kinematics is as follows. Ali looks at information from 3 sources:
  - 1) run sheets 2) standard.kinematics 3) hclog
  - needs all three sources to agree. Otherwise, investigate
- Testing Richard’s analysis script for HeeP
  - Need SIMC/Data comparison script from Richard
- Script to extract spectrometer angles from CODA
  - added link to Brad’s script from wiki
  - photos also posted on KaonLT logbook
- Used script and added 6.2 GeV HeeP singles photos to Kaon-LT logbook
  - Entry 3992055
- Two week plan: Test Richard’s analysis script and start 8.2 GeV Heep
Vijay
- Finished all Low Q2 PionLT data (2.7 GeV, 3.6 GeV and 4.5 GeV, Q2 = 0.38 and 0.42)
- Sees similar dip in yptar between data/SIMC
  - This is for physics settings though, not HeeP
- SHMS delta looks very odd, SIMC extends further into -ve delta (data does not)
- No normalisation factor applied to any of the SIMC or physics data here, agreement is pretty good although efficiencies are not included yet
- HMS delta has a discrepancy
- MMpi has a clear shift, tied into Emiss shift
- Shift is of the same amount?
  - Certainly looks similar, but not confirmed
- Two week plan: Move to efficiencies and go back to resolve problems identified in Heep study
Jacob
- Hodoscope calibration update
  - Hodoscope analysis batch script up and running
    - Only SHMS changes done so far
    - Set to run from user’s directory rather than online_analysis directory
    - will push changes this afternoon
  - Doing a scan of different beam energies right now
    - will do a mass production of more calibrations soon
  - Script looks at different database files
    - Difference between 6 different run periods is HMS calorimeter calibrations
  - Current param files
    - 7 different files currently, some SHMS only, some HMS included
  - Will need to look at other calibrations following hodoscope calibs
  - Improvement seen in negative delta/xfp. P.gtr.beta has a huge improvement
    - removing hard cut in the calib code makes huge effect
  - Beta vs xfp is odd, doesn’t match live plots
  - Some events at beta = 0?
    - Not so many in HMS, lots in SHMS for some settings
  - SHMS – Not so many calorimeter calibrations
  - Large improvement in negative delta/xfp region
  - Six completed SHMS calibrations
    - At least one per beam energy
  - Big improvements for the SHMS across all beam energies
  - Will plot changes in parameters
  - Should reanalyze the defocused runs to get a really good time walk calibration, and then don’t change it again
    - Also, we should do a defocused run at start of Summer 2022 run
- Re-ran rates for run plan, used correct delta cuts this time, find we can do a delta scan that we previously couldn’t
- Two week plan – Run plan for 10.6 GeV, better way to examine hodoscope calibrations
  - Take a further look at HMS hodoscope calibrations
  - Optics calibrations for run plan?
  - Rate calculation from carbon target – Dave has this available, will forward on
  Nathan
- Spreadsheets for run plan almost compiled
  - All HeeP setttings done
  - Coming in slightly under time for each of the beam energies
  - 6.4 GeV setting cutting it close timewise
    - Even after moving a week from 10 GeV to 6.4 GeV
- Q GH – Relating to mode 10, showed mode 10 variables previously. Are the two sets of variables combined somehow such that we can get the info for the “missing events”? How do we implement this?
  - A – Not 100% sure yet, intent was that mode10 version of everything will be added in the event that the pedestal info is missing. Will need to look at the code.
- Two week plan – run plan work is almost done. Will check some plots for Mode-10 studies and start Cherenkov calibrations
Junaid
- Working on run plan
  - HeePs done
  - Looking at Lumi scans
- Two week plan - DC/Calorimeter calibrations next
Stephen
- Online software setup
  - Want to use virtual CH, but won’t really be able to until next week
- Who is in charge of hall software/computing now?
  - Dave – Good question! Not clear, Brad still managing a lot of it. Will ask Mark for a transition plan
Garth
- Jay said no planned changes in the beam energies yet
  - Will know more in 3 weeks
- Next meeting –
  - 17th of May 15:00 EDT