## Sheet1
Beam energy	Linac Gradient	Q2	W	x	-tmin	Target	epsilon	θ_hms (e')	P_hms (e')	θ_q	θ_shms (+)	P_shms (+)	Beam current	Tgt Hrs	Dummy Hrs	Overhead Hrs	Proposal Hrs (50% eff)	VR Coinc t-range (Hz)	Old_K Coinc t-range (Hz)	Desired #coins (no diamond cut)	SHMS Singles Rates (kHz)			HMS Singles Rates (kHz)			Random coinc (Hz)	Beam pulse interval (ns)
(GeV)	(GeV)	(GeV2)	(GeV)							(deg)			(μA)								π+	K+	p	e-	π-	K-
Start standard 4-pass 8.5
Trigger and detector checkout														8.0
Simona wants to do some SHMS hodo timing checkout, apparently needs adjustment.
For SIDIS, the coin peak is not centered within the timing window (at least initially). Need to recheck and adjust coin timing.
Ryan needs to check HGC gain matching after summer detector work.

C-sieve slit data (both spectrometers)														4.0		4.0
In addition to optics check, be sure beam is centered on HMS hole, and is reproducible for each beam setting.

C- Luminosity scan
8.518						C					8.00		5-80	2.0

LH2 Boiling scan														4.0							e-
8.518						LH2		10.00	5.500		8.00	6.500	5								106.0			25.0				2
8.518						LH2		10.00	5.500		8.00	6.500	20								423.0			99.0				2
8.518						LH2		10.00	5.500		8.00	6.500	80								1690.0			395.0				2
8.518						LH2		11.20	5.300		8.80	6.500	40								424.0			104.0				2
8.518						LH2		11.20	5.300		8.80	6.500	80								885.0			209.0				2
8.518						LH2		12.00	5.100		9.30	6.000	60								462.0			105.0				2
8.518						LH2		12.00	5.100		9.30	6.000	80								616.0			140.0				2
8.518						LH2		12.60	5.100		9.90	5.800	80								432.0			105.0				2
8.518						LH2		14.00	4.900		11.00	5.400	80								233.0			56.0				2

Heep-check singles and coin
Singles
8.518						LH2		18.00	5.898	32.07	32.07	3.433	70	0.3	0.1	0.2												2
8.518						LH2		20.00	5.504	29.37	29.37	3.839	70	0.3	0.1	0.2												2
8.518						LH2		22.00	5.128	27.04	27.04	4.225	70	0.3	0.1	0.2												2
8.518						LH2		24.00	4.772	25.02	25.02	4.589	70	0.3	0.1	0.2												2
8.518						LH2		26.00	4.439	23.26	23.26	4.928	70	0.3	0.1	0.2												2

Coincidence (HMS angle with pass 04 setting #1)
8.518	2.10	6.7	0.98			LH2		23.00	4.947	26.00	26.00	4.410	70	5.5	0.6	1.0		5		99360							few Hz	2

Beam energy measurement – Harp scan														8.0

p(e,e'K) data taking
DG suggests to reorder these according to TH_shms, for settings <7deg. Need to consult with S.Lassiter on his needing to be in hall when moving to small angle.
Note1: -3deg Q2=3.0 setting is not part of PAC proposal, but included in the runplan request, in lieu of other setting.
Note2: -3deg Q2=4.4 setting was also included in runplan request (but not PAC proposal), but there seems to be not enough time to do it.
8.518	2.10	3.0	3.14	0.2504	0.219	LH2	0.4435	23.44	2.134	7.37	5.50	6.053	70	93.4	7.0	4.0	301.2	0.06	0.04	16807	117.9	46.2	27.1	3.3	56.3	2.2	47.3	2
											7.37			93.4	7.0	0.0		0.10	0.05	25210	31.8	14.6	11.2	3.3	15.6	0.7	4.5	2
											10.37			93.4	7.0	0.0		0.06	0.04	16807	3.1	1.7	1.9	3.3	1.6	0.1	0.1	2
8.518	2.10	2.0	3.20	0.1761	0.131	LH2	0.5147	17.76	2.464	6.94	5.50	5.768	70	29.9	2.2	4.0	96.3	0.28	0.14	22569	167.2	59.5	35.3	12.0	80.7	34.8	133.6	2
											6.94			29.9	2.2	0.0		0.34	0.16	26868	65.3	26.6	19.2	12.0	32.3	15.8	26.7	2
											9.04			29.9	2.2	0.0		0.21	0.13	18270	15.1	7.1	6.6	12.0	7.7	0.4	2.3	2
8.518	2.10	4.4	2.74	0.3999	0.507	LH2	0.5237	25.55	2.641	10.52	7.52	5.389	70	0.0	0.0	0.0	78.4	0.05	0.03	0	75.3	28.4	22.4	1.8	38.0	2.1	21.1	2
											10.52			36.5	2.7	4.0		0.05	0.05	6562	10.4	4.7	5.2	1.8	5.5	0.3	0.6	2
											13.52			36.5	2.7	0.0		0.05	0.03	5250	1.2	0.6	0.9	1.8	0.6	0.0	0.0	2
Standard 4-pass check			Scheduled hours			528									527.9		475.9

Start standard 3-pass 6.4
Configuration change during beam tune

C-sieve slit data (both spectrometers)						C								4.0		4.0

Heep-check singles and coin
Singles
6.418						LH2		24.00	4.033	30.97	30.97	3.188	70	0.3	0.1	0.2												2
6.418						LH2		26.00	3.793	28.92	28.92	3.438	70	0.3	0.1	0.2												2
6.418						LH2		28.00	3.564	27.09	27.09	3.674	70	0.3	0.1	0.2												2
6.418						LH2		30.00	3.349	25.46	25.46	3.896	70	0.3	0.1	0.2												2

Coincidence (HMS angle and SHMS momentum)
6.418	2.10	5.0	0.98			LH2		26.40	3.746	28.54	28.54	3.486	70	2.2	0.2	1.0		12.6		99792								2

Beam energy measurement – Harp scan														8.0

p(e,e'K) data taking
Note1: -3deg Q2=3.0 setting is not part of PAC proposal, but included in the runplan request, in lieu of other setting.
6.418	2.10	3.0	2.32	0.3999	0.531	LH2	0.6090	25.39	2.420	13.78	10.78	3.486	70	11.9	0.9	4.0	38.4	0.11	0.09	4285	100.5	26.7	39.5	4.0	48.2	2.2	36.2	2
											13.78			11.9	0.9	0.0		0.12	0.11	4928	27.1	8.3	16.2	4.0	13.3	0.6	3.7	2
											16.78			11.9	0.9	0.0		0.11	0.09	4285	6.6	2.2	5.8	4.0	3.3	0.1	0.4	2
Standard 3-pass check			Scheduled hours			72									64.2		38.4

Start standard 5-pass 10.6
Configuration change during beam tune

C-sieve slit data (both spectrometers)						C								4.0		4.0

C- Luminosity scan						C						(-)	5-80	2.0														4

LH2 Boiling scan												(-)		4.0							e-
10.600						LH2		10.00	7.000		8.00	8.000	5								52.0			13.0				4
10.600						LH2		10.00	7.000		8.00	8.000	20								208.0			54.0				4
10.600						LH2		10.00	7.000		8.00	8.000	80								833.0			215.0				4
10.600						LH2		10.50	7.000		9.00	7.000	80								405.0			155.0				4
10.600						LH2		11.50	6.000		9.00	7.000	40								202.0			48.0				4
10.600						LH2		11.50	6.000		8.00	6.400	80								641.0			95.0				4
10.600						LH2		11.50	4.000		9.00	5.500	60								208.0			49.0				4
10.600						LH2		11.50	3.500		9.00	4.600	80								205.0			56.0				4

Heep-check singles and coin
Singles
10.618						LH2		12.00	8.518	37.69	37.69	2.895	70	0.3	0.1	0.2												4
10.618						LH2		14.00	7.947	33.48	33.48	3.485	70	0.3	0.1	0.2												4
10.618						LH2		16.00	7.382	30.02	30.02	4.068	70	0.3	0.1	0.2												4
10.618						LH2		22.00	5.821	22.67	22.67	5.658	70	0.3	0.1	0.2												4
10.618						LH2		24.00	5.367	20.91	20.91	6.118	70	0.3	0.1	0.2												4

Coincidence (HMS momentum with setting #3)
10.618	2.10	7.5	0.98			LH2		18.80	6.621	26.13	26.13	4.846	70	7.4	0.7	1.0			3.75	99900								4
																											few Hz
Beam energy measurement – Harp scan															8.0
p(e,e'K) data taking
10.618	2.10	3.0	3.14	0.2504	0.219	LH2	0.6690	14.84	4.234	9.44	6.44	6.053	70	43.5	3.3	4.0	140.2	0.15	0.10	19558	150.1	54.7	34.4	19.3	80.4	5.9	404.2	4
											9.44			43.5	3.3	0.0		0.23	0.13	28163	17.9	7.9	7.2	19.3	10.1	0.9	16.0	4
											12.44			43.5	3.3	0.0		0.15	0.10	19558	1.7	0.9	1.1	19.3	1.0	0.1	1.2	4
10.618	2.10	2.0	3.20	0.1761	0.131	LH2	0.7128	11.66	4.564	8.53	5.53	5.768	70	19.7	1.5	4.0	63.6	0.35	0.21	19874	355.6	110.2	62.7	62.2	186.9	12.3	2210.3	4
											8.53			19.7	1.5	0.0		0.54	0.26	28391	50.4	19.7	16.4	62.2	28.1	2.4	128.3	4
											11.53			19.7	1.5	0.0		0.32	0.20	18454	6.0	2.7	3.1	62.2	3.5	0.3	12.4	4
10.618	2.10	4.4	2.74	0.3999	0.507	LH2	0.7167	17.00	4.741	12.84	9.84	5.389	70	17.2	1.3	4.0	55.6	0.07	0.07	4343	34.9	13.3	13.2	8.2	19.8	1.8	29.3	4
											12.84			17.2	1.3	0.0		0.11	0.10	6515	4.6	2.0	2.7	8.2	2.7	0.3	1.6	4
											15.84			17.2	1.3	0.0		0.10	0.07	5274	0.5	0.2	0.4	8.2	0.3	0.0	0.2	4
10.618	2.10	3.0	2.32	0.3999	0.531	LH2	0.8799	11.86	6.620	18.19	15.19	3.486	70	4.8	0.4	4.0	15.4	0.22	0.25	4039	39.2	11.2	23.4	63.1	22.3	1.9	103.0	4
											18.19			4.8	0.4	0.0		0.30	0.28	4984	10.0	3.1	8.5	63.1	5.8	0.5	23.9	4
											21.19			4.8	0.4	0.0		0.28	0.22	4297	2.3	0.8	2.8	63.1	1.4	0.1	6.1	4
10.618	2.10	5.5	3.02	0.4003	0.503	LH2	0.5322	22.86	3.296	9.59	6.59	6.842	70	55.2	4.2	4.0	178.2	0.021	0.021	4176	56.1	25.4	15.6	17.6	29.9	2.2	77.2	4
											9.59			55.2	4.2	0.0		0.037	0.034	7060	4.6	2.5	2.2	17.6	2.6	0.2	3.1	4
											12.59			55.2	4.2	0.0		0.021	0.021	4176	0.3	0.2	0.2	17.6	0.2	0.0	0.2	4
Standard 5-pass check			Scheduled hours			528									507.1		453.0

Start special 5-pass 9.4
Configuration change during beam tune

C-sieve slit data (both spectrometers)														4.0		4.0

Heep-check singles and coin
Singles
9.404						LH2		28.00	4.327	20.00	20.00	5.941	70	0.3	0.1	0.2												4
9.404						LH2		30.00	4.014	18.71	18.71	6.258	70	0.3	0.1	0.2												4
9.404						LH2		44.00	2.466	12.66	12.66	7.820	70	0.3	0.1	0.2												4
9.404						LH2		49.50	2.084	11.12	11.12	8.205	70	0.3	0.1	0.2												4

Coincidence (based only on sensitivity and coincidence rates)
9.404	1.86	6.6	0.98			LH2		20.00	5.861	27.23	27.23	4.382	70	5.0	0.5	1.0											few Hz	4

Beam energy measurement – Harp scan														8.0

p(e,e'K) data taking
9.404	1.86	5.5	3.02	0.4003	0.503	LH2	0.3721	30.73	2.082	7.96	5.50	6.842	70	0.0	0.0	0.0	205.8	0.017	0.011	0	72.6	33.4	18.4	0.6	35.5	1.6	75.0	4
											7.96			95.7	7.2	4.0		0.020	0.018	6546	9.7	5.4	4.2	0.6	5.0	0.2	1.8	4
											10.96			95.7	7.2	0.0		0.017	0.011	4823	0.6	0.4	0.5	0.6	0.3	0.0	0.0	4
Special 9.4 check			Scheduled hours			240									234.7		205.8

Start special 2-pass 3.8
Configuration change during beam tune

C-sieve slit data (both spectrometers)						C								2.0		2.0

Heep-check singles and coin
Singles
3.824						LH2		70.00	1.039	15.72	15.71	3.603	35	0.3	0.1	0.2												2
3.824						LH2		75.00	0.951	14.40	14.40	3.694	35	0.3	0.1	0.2												2
3.824						LH2		80.00	0.875	13.21	13.21	3.772	35	0.3	0.1	0.2												2

Coincidence (SHMS momentum)
3.824	1.86	3.5	0.98			LH2		40.53	1.933	28.09	28.09	2.669	35	1.4	0.1	1.0		19.44		97978							few Hz	2

Beam energy measurement – Harp scan														8.0

p(e,e'K) data taking
3.824	1.86	0.4	2.45	0.0724	0.064	LH2	0.4108	19.83	0.881	5.70	5.70	2.669	35	113.3	8.5	4.0	243.6	0.609	0.267	178610	235.9	31.1	46.9	12.2	86.5	0.5	124.5	2
											8.70			113.3	8.5	0.0		0.580	0.213	161687	98.9	16.9	31.8	12.2	36.7	0.2	29.0	2
Special 3.8 check			Scheduled hours			240									263.9		243.6

Start special 3-pass 4.9
Configuration change during beam tune

C-sieve slit data (both spectrometers)						C								2.0		2.0

Heep-check singles and coin
Singles
4.920						LH2		43.00	2.043	22.13	22.13	3.699	35	0.3	0.1	0.2												2
4.920						LH2		44.25	1.978	21.50	21.50	3.765	35	0.3	0.1	0.2												2
4.920						LH2		45.00	1.940	21.14	21.14	3.804	35	0.3	0.1	0.2												2

Coincidence (SHMS momentum)
4.920	1.61	3.5	0.98			LH2		28.25	3.028	32.48	32.48	2.670	35	2.0	0.2	1.0		30.58		220176							few Hz	2

Beam energy measurement – Harp scan														8.0

p(e,e'K) data taking
4.920	1.61	0.4	2.45	0.0724	0.064	LH2	0.6849	11.64	1.977	7.62	5.50	2.669	35	49.9	3.8	4.0	161.0	0.496	0.379	78608	492.8	61.5	78.9	98.3	207.3	4.3	784.6	2
											7.62			49.9	3.8	0.0		0.714	0.394	99541	275.9	41.9	61.9	98.3	118.0	2.9	332.8	2
											10.62			49.9	3.8	0.0		0.951	0.438	124785	61.2	21.1	39.2	98.3	48.9	1.4	72.2	2
Special 4.9 check			Scheduled hours			168									182.0		161.0

Grand Total						1776									1779.9		1577.7