## Slide 1: Discussion of the Charges Pt. II
Elena Long
Tensor Conditionals Review
August 1st, 2022

## Slide 2: Answer to Charge #2.2
  What crosschecks or auxiliary measurements can be made to validate the results?
    Extraction from @ gives (rel)
    Independent UNH extraction of from NMR lineshape agrees w/ UVA method
Same method as C Zhang[1]
(rel)
for very similar
[1]C Zhang, et al, PRL 107 252501 (2011)

## Slide 3: Answer to Charge #2.3
  Will this uncertainty be sufficient to achieve meaningful physics results?
    Yes!
    Proposals (post-PAC condition):
    Current target status:
      ssRF:

## Slide 4: Answer to Charges #3.1 & #4.1
  What assumptions are made regarding the vector polarization of the target? What is the current experimental situation?
    Integrating over +/- vector pol. suppresses drift systematics
      Also removes model dependence for diluting asymmetries
    Flipping multiple times per hour is possible
      Further suppresses systematics

## Slide 5: Extraction from Elastic Scattering
Charge #2.2

## Slide 6: Crosschecks (#2.2): from Scattering
The elastic cross-section can be used to extract the tensor polarization independently from NMR extraction
Dilution factor
Previously measured observables
(Well-known at low )
# Events w/
# Events w/
At
Polarization oriented
along beamline

## Slide 7: Crosschecks (#2.2): from Scattering
Assuming

## Slide 8: Crosschecks (#2.2): from Scattering
At ,
  (7.7%)
    Can shrink to ~5% w/ parameterization as in Zhang, et al.
C Zhang, et al, PRL 107 252501 (2011)
(fm)
0.193
0.225

## Slide 9: Crosschecks (#2.2): from Scattering
At ,
  (20%)
    Can shrink to ~5% w/ parameterization as in Zhang, et al.
C Zhang, et al, PRL 107 252501 (2011)
(fm)
0.193
0.225

## Slide 10: Crosschecks (#2.2): from Scattering
strongly dependent on , which is more cleanly extracted from form factor
At ,
  (10%)
    Can shrink to ~5% w/ parameterization as in Zhang, et al.
D Abbot, et al, Eur. Phys. J. A 7 421 (2000)

## Slide 11: Crosschecks (#2.2): from Scattering – Previous Data Only
Using values mentioned & , the relative uncertainty from elastic scattering is 12.68%
  Similar rel. uncertainty in range
1.05% 12.64%
2.5%
10.13% 5.36% 0.45%
3.73% 2.82% 0.04%
(Using for easier notation)

## Slide 12: Crosschecks (#2.2): from Scattering – Parameterized
Using values mentioned & , the relative uncertainty from elastic scattering is 8.63%
  Similar rel. uncertainty in range
1.05% 8.57%
2.5%
6.59% 1.34% 0.25%
3.73% 2.82% 0.04%
(Using for easier notation)

## Slide 13: from NMR Measurement Cross-Check
Charge #2.2

## Slide 14: Crosschecks (#2.2): UNH NMR Cross-Check
  UNH simulation based on modified Cohen & Reif
  Calculates transition frequencies from energy levels
      and
  Assumes random powder pattern for & counts spin flips across NMR frequency bins
    Calculates ~125,000 spin flips into ~300 NMR bins
    Spin flips determined by and , which can be independent in bins to account for simple RF manipulation
    Broadens each frequency bin into all others via real & imaginary Lorentzian
      Allows phase angle extraction
  Higher order spin diffusion not yet fully implemented
    Simulation already agrees with UVA direct measurement within experimental uncertainties, and we expect this agreement to further improve once spin diffusion is fully implemented
M.H. Cohen, F. Reif, Solid State Phys. 5, 321 (1957)
Preliminary

## Slide 15: Physics Extraction
Charge #2.3

## Slide 16: Physics Extraction (#2.3)
  Proposal (Post-PAC) polarization uncertainty estimates:
  Polarization uncertainty currently achieved:
    ssRF-only:
    ssRF+AFP:
    ssRF+Rotation:

## Slide 17: Physics Extraction (#2.3)
Proposal
Update
  Effectively the same as PAC conditions
  Drift mitigation will further reduce total uncertainty
    (will be explained in a few slides)

## Slide 18: Physics Extraction (#2.3)
Proposal
Update

## Slide 19: Physics Extraction (#2.3)
Proposal
Update

## Slide 20: Physics Extraction (#2.3)
Proposal
Update

## Slide 21: Measurement Helicity States
Charges #3.1 & 4.1

## Slide 22: Helicity States (#3.1 & 4.1)
In the polarized deuteron cross section, there are four asymmetry terms
  Vector polarization
  Tensor polarization
  Integrating electron helicity suppresses and
  Switching between positive and negative vector polarizations and integrating suppresses

## Slide 23: Helicity States (#3.1 & 4.1)
Advances in target development allow us to enhance or suppress the tensor polarization () while maintaining either positive or negative vector polarization () multiple times per hour
We can measure
This further suppresses & highly suppresses drift effects on systematic uncertainty
  Particularly important for
for
Proposal
Update

## Slide 24: Proposal/PAC ,
Proposal
  PAC40 condition values

## Slide 25: Update – Consistent
Update
  Figure of merit significantly improves from increased # of spin flip cycles
for
Proposal
Update

## Slide 26: Update – Conservative ,
  Reducing beam current to 85nA and to 26% still gives slightly better figure of merit to PAC-approved total uncertainty
Update

## Slide 27: Conclusions
Tensor Polarization Measurement Cross-Checks
  2 independent methods of determining from NMR data agree
  Elastic extraction from elastic data expected to have rel. uncertainty of
Current tensor enhancement & measurement uncertainty very similar to proposed estimates
New development of tensor-state flipping ~few times/hour while maintaining +/- vector polarization greatly suppresses systematics well beyond estimates in original proposals

## Slide 29: Backup

## Slide 30: Measuring Polarization
For vector polarization,
For tensor polarization,
Reducing
Increases +
Line shape fits used to extract and area difference
D. Keller, et al., NIM A 981, 164504 (2020)
D. Keller, Eur. Phys. J. A 53, 155 (2017)

## Slide 31: Semi-Selective RF Saturation (ssRF)
[1] D. Keller, et al., NIM A 981, 164504 (2020)
[2] D. Keller, Eur. Phys. J. A 53, 155 (2017)
[3] A. Abragam, Principles of Nuclear Magnetism (1961)
  Technique developed by D. Keller & UVA Polarized Target Lab[1,2]
  Additional RF coils drive spin-flips within NMR frequencies to minimize while having a minimal or enlargement factor on
    Frequencies are ‘mirrored’, but quadrupole angle is not, so spin manipulation at one shows up at two frequencies
    Area reduction of causes a ½ area increase of
    To measure , a line shape derived from Abragam was used that allows for manipulated spin states with different polarizations at different frequencies (and thus different values of ) [2,3]
  UVA achieved using ssRF[1] on peak and shoulder of
  UVA measurement agrees with independent UNH extraction within experimental uncertainty

## Slide 32: ssRF + Rotation
[1] D. Keller, et al., NIM A 981, 164504 (2020)
[2] D. Keller, Eur. Phys. J. A 53, 155 (2017)
  Technique developed by D. Keller & UVA Polarized Target Lab[1,2]
  Rotating target material changes which nuclei are at which , and thus which NMR frequency
  Rotating during ssRF can better transport spin manipulation, further increasing tensor polarization
    Ideal rotation would be about
  UVA achieved using double ssRF + rotation[1]
ssRF
ssRF
Rot.
Rot.

## Slide 33: Physics Extraction (#2.3) ,
  120 hours removed from two lowest kinematic settings
Update

## Slide 34: Physics Extraction (#2.3) & Drifts Mitigated
Proposal
Update

## Slide 35: Physics Extraction (#2.3)
Proposal
Update

## Slide 36: Helicity States – Definitions
Luminosities w/o charge & eff.
# Events Detected
Acceptance
Efficiencies
Beam Charge

## Slide 37: Helicity States – 2 States

## Slide 38: Helicity States – 4 States

## Slide 39: Helicity States – 4 States

## Slide 40: Helicity States – 4 States
With fast tensor pol. switching, &

## Slide 41: Helicity States (#3.1 & 4.1)
In the case where integrated beam helicity is 0, this gives

## Slide 42: Helicity States (#3.1 & 4.1)
In the case where integrated beam helicity is 0, this gives
Suppressed by dilution factor, , and by difference of
In worst case scenario relative to
Transversity used as
to be large over-estimate

## Slide 43: Helicity States (#3.1 & 4.1)
More complicated if , but other terms still suppressed
Suppressed similar to w/ further suppression
Overestimate:
Suppressed by
, so term goes as
Likely not an issue as it’s expected that

## Slide 44: Helicity States (#3.1 & 4.1)
Though suppressed, by tagging beam helicity we can simultaneously measure all diluting asymmetries alongside for no additional beamtime
  Tagging +/- beam helicities for each of the 4 polarization states gives 8 total beam-target polarization states
  Direct measurements eliminate model-dependent uncertainties from , , &