## Slide 1: Logarithmic E Weighting of Clusters
Currently clusX, clusY, and clusZ are calculated as linear energy weighted averages of individual hits
Logarithmic energy weighting has been shown to provide more accurate energy resolution
is a parameter based on simulation data for the calorimeter

## Slide 2: Logarithmic E Weighting of Clusters
Rewrote the functions in THcNPSCalorimeter.cxx to use log weighting
  Set for now
Replayed run 3581, compared linear and log weighting of a few clusters
Checked log calculations manually