## Sheet1
Predicted Day Number	Actual Day	Beam energy	Linac Gradient	Q2	W	x	-tmin	Target	epsilon	θ_hms (e')	P_hms (e')	θ_q	θ_shms (+)	P_shms (+)	SHMS n_aero (K/p)	θ_open	Beam current	Tgt Hrs	Dummy Hrs	Overhead Hrs	Proposal LH2 Hrs (100% eff)	VR Coinc t-range (Hz)	Old_K Coinc t-range (Hz)	Ratio (w/ and w/o diamond cut)	Desired #coins (no diamond cut)	SHMS Singles Rates (kHz)			HMS Singles Rates (kHz)			Random coinc: 100ns 5:1 e/piK (Hz)	Desired SHMS Prescale Ratio	Closest SHMS Prescale Setting	Desired HMS Prescale Ratio	Closest HMS Prescale Setting	Total event rate to disk (Hz)
		(GeV)	(GeV)	(GeV2)	(GeV)							(deg)					(μA)									π+	K+	p	e-	π-	K-

		THIS DOCUMENT IS FOR PLANNING PURPOSES ONLY. SHIFT WORKERS SHOULD FOLLOW THE DETAILED PDF.

		Items with blue background require one or more experts to be present.
		Cells with yellow background have rates >250 kHz.
		Prescale Ratios (the actual factor, not the exponent value that must be input!):
		Singles runs: lumi scans and Heep singles, PS ratios are calculated to give 125k events in 5 min, i.e. 425 Hz per spectrometer. This should give DT<10% for each DAQ.																				Desired Hz:	1000
		K+ data runs: PS ratios are calculated to so that singles rates per spectrometer are <100Hz (in Fpi-2 we used 25 Hz).																				Desired Hz:	100

0		Start standard 5-pass 10.6
0.0		Start with HMS set for neg polarity, SHMS for neg polarity, aerogel n=1.015.
0.0		Want 10cm LH2 target, C z=0 target, thick +/-5 cm AL Dummy targets installed
0.2		Superharp scan																4.0
0.3	Sep26 owl	Beam steering studies											6.66	-8.035				4.0
0.7	Sep26 swng	Detector checkout								13.50	-5.270		18.00	-2.530		31.50		8.0
0.7		Simona wants to do some SHMS hodo timing checkout, apparently needs adjustment.
0.7		Ryan needs to check HGC gain matching after summer detector work.
0.7		HMS cherenkov checkout.
0.7		Check fADC thresholds, detector timing windows and thresholds, self-timing peaks.
1.0	Sep27 owl	Trigger checkout																8.0
1.0		Take a short run accepting all triggers, then decide on specific cuts or factors appropriate for p(e,e’K+) while not excluding pi+ and proton coins.
1.0		Set up HMS ELREALxSHMS 3/4 coincidence trigger
1.0		For SIDIS, the coin peak is not centered within the timing window (at least initially). Need to recheck and adjust coin timing.
1.2		Beam energy measurement with Arc																4.0
1.3	Sep27 owl	BCM calibrations 0-80 uA																2.0
1.3	Sep28 owl	BPM calibration with multiple harp scans																2.0
1.3
1.3	S 28 owl,dy	C-sieve slit data (both spectrometers)												(-)
1.4		10.588						Z=0,±10		13.00	-6.600		9.50	-8.035			70	0.5		1.0						1.0			0.12
1.4		10.588						Z=0,±11		13.00	-6.300		9.50	-6.842			70	0.5		0.1						1.5			0.125
1.4		10.588						Z=0,±12		13.00	-6.000		9.50	-6.300			70	0.5		0.1						1.5			0.13
1.5		10.588						Z=0,±13		13.00	-5.500		9.50	-5.500			70	0.5		0.1						1.2			0.15
1.5		10.588						Z=0,±14		13.00	-5.300		9.50	-5.000			70	0.5		0.1						1.1			0.15
1.5		10.588						Z=0,±15		13.00	-5.000		9.50	-4.500			70	0.5		0.1						0.9			0.14
1.7		TOTAL TIME																	4.5
1.7
1.7	S28 swing	Final sieve slit check for reference
1.7		In addition to optics check, be sure beam is centered on HMS hole, and is reproducible for each beam setting.
1.7		Need raster off!																								e-
1.9		10.588						C		13.00	-5.000		9.50	-4.500		22.50	20	0.5		4.0
1.9
1.9		Need to cycle SHMS magnets																		0.3
1.9		LH2 and C z=0 Luminosity scans																							#HMS/SHMS	e-
1.9		10.588						LH2		11.50	-5.000		9.50	-6.000		21.00	80	0.2		0.1					125000	250			64				250	9	64	7	1957
1.9		10.588						C									80	0.2		0.1					125000
1.9		10.588						C		11.50	-5.000		9.50	-6.000		21.00	50	0.2		0.1					125000
2.0		10.588						LH2									50	0.2		0.1					125000	160			40				160	8	40	6	2452
2.0		10.588						LH2		11.50	-5.000		9.50	-6.000		21.00	30	0.2		0.1					125000	93			24				93	7	24	5	2843
2.0		10.588						Dummy									30		0.2	0.1
2.0		10.588						C									30	0.2		0.1					125000
2.0		10.588						C		11.50	-5.000		9.50	-6.000		21.00	15	0.2		0.1					125000
2.0		10.588						LH2									15	0.2		0.1					125000	47			12				47	6	12	4	2758
2.0		10.588						LH2		11.50	-5.000		9.50	-6.000		21.00	5	0.2		0.1					125000	16			4				16	5	4	2	2275
2.0		10.588						C									5	0.2		0.1					125000
2.1		Cycle SHMS magnets																		0.3
2.1		10.588						LH2		16.00	-4.000		8.00	-6.842		24.00	80	0.2		0.3					125000	730			12				730	10	12	4	2756
2.1		10.588						C									80	0.2		0.1					125000
2.1		10.588						C		16.00	-4.000		8.00	-6.842		24.00	50	0.2		0.1					125000
2.1		10.588						LH2									50	0.2		0.1					125000	460			7.2				460	10	7	3	2337
2.1		10.588						LH2		16.00	-4.000		8.00	-6.842		24.00	30	0.2		0.1					125000	280			4.3				280	9	4	3	1949
2.1		10.588						Dummy									30		0.2	0.1
2.2		10.588						C									30	0.2		0.1					125000
2.2		10.588						C		16.00	-4.000		8.00	-6.842		24.00	15	0.2		0.1					125000
2.2		10.588						LH2									15	0.2		0.1					125000	140			2.2				140	8	2	1	2185
2.2		10.588						LH2		16.00	-4.000		8.00	-6.842		24.00	5	0.2		0.1					125000	46			0.7				46	6	1	0	2094
2.2		10.588						C									5	0.2		0.1					125000
2.5		TOTAL TIME																	7.1
2.5
2.5		Cycle HMS magnets																		1.0
2.5		Heep-check singles and coin (accelerator very unstable, mostly only 15uA and lots of down. Mark did way more optics settings than planned to better understand HMS saturation)
2.5		Heep Electron singles in both spectrometers												(-)										#SHMS	#HMS	e-
2.6	S29 owl	10.588						Buffered LH2 and Dummy		24.15	-5.322		18.00	-6.842		42.15	70	0.25	0.2	0.2				279000	27000	0.31			0.03				1	0	1	0	340
2.6		10.588						Buffered LH2 and Dummy		24.15	-5.322		16.25	-6.842		40.40	70	0.25	0.2	0.2				900000	27000	1.91			0.03				2	0	1	0	1940
2.6		10.588						Buffered LH2 and Dummy		24.15	-5.322		19.85	-6.842		44.00	70	0.33	0.2	0.2				29700	35640	0.025			0.03				1	0	1	0	55
2.6		10.588						Buffered LH2 and Dummy		24.15	-5.322		13.80	-6.842		37.95	70	0.25	0.2	0.2				900000	27000	14.5			0.03				15	4	1	0	1641
2.7								Unbuffered mode LH2 and Dummy									70	0.25	0.2	0.1				900000	27000	14.5			0.03				15	4	1	0	1641
2.7								Buffered carbon sieve										0.25		0.1
2.7	Beg S28 sw	10.588						Buffered LH2 and Dummy		22.60	-5.322		20.00	-6.311		42.60	70	0.33	0.2	0.2				154440	178200	0.13			0.15				1	0	1	0	280
2.7								Buffered carbon sieve										0.25		0.1
2.8		Cycle HMS and SHMS magnets																		1.0
2.8		10.588						Buffered LH2 and Dummy		18.80	-6.590		13.70	-8.035		32.50	70	0.25	0.2	0.2				900000	207000	3.35			0.23				3	2	1	0	1347
2.8								Unbuffered mode LH2 and Dummy									70	0.25	0.2	0.1				900000	207000	3.35			0.23				3	2	1	0	1347
2.8		10.588						Buffered LH2 and Dummy		17.20	-6.590		11.70	-8.035		28.90	70	0.25	0.2	0.2				900000	900000	26.7			1.4				27	6	1	0	2209
2.9								Unbuffered mode LH2 and Dummy									70	0.25	0.2	0.1				900000	900000	26.7			1.4				27	6	1	0	2209
2.9								Buffered carbon sieve										0.25		0.1
2.9		10.588						Buffered LH2 and Dummy		19.75	-6.590		15.65	-8.035		35.40	70	0.50	0.2	0.2				432000	108000	0.24			0.06				1	0	1	0	300
3.3	End S30 sw	TOTAL TIME																	9.3
3.3
3.3		Configuration change																		0.5
3.3		SHMS polarity change (neg to pos) and cycle magnets. Important change: took carbon sieve data for HMS matrix fitting while cycling SHMS.
3.3
3.3	O1 owl	Heep Coincidence (HMS momentum with setting #3)												(+)											#COIN
3.5		10.588	2.10	7.49	0.98			LH2		18.85	-6.590	26.13	26.13	4.840	1.015	44.98	70	3.7	0.4	1.0		3.75			49950				0.23			5.00	1	0	1	0	239
3.5
3.5		p(e,e'K) data taking												(+)
3.6		Diligence required during HMS small angle movement																		0.5
3.8	1: O1 d	10.588	2.10	3.0	2.32	0.3999	0.531	LH2	0.8791	11.90	-6.590	18.18	15.18	3.486	1.015	27.08	70	4.4	0.3	0.0	7.2	0.26	0.33	0.27	15214	39.17	11.18	23.37	72.9	0.533	0.042	538.27	737	10	730	10	825
4.0	1: O1 s												18.18			30.08		4.4	0.3	0.3		0.38	0.38		22259	9.956	3.13	8.463	72.9	0.533	0.042	157.34	215	9	730	10	384
4.2	1: O2 o												21.18			33.08		4.4	0.3	0.3		0.32	0.38		18826	2.316	0.799	2.783	72.9	0.533	0.042	43.06	59	7	730	10	276
4.2		Diligence required during HMS small angle movement																		0.5
5.0	3.5: O3 s O4 od O5 o	10.588	2.10	2.115	2.95	0.2128	0.175	LH2	0.7864	11.15	-5.292	10.74	7.74	4.983	1.015	18.89	70	18.3	1.3	0.0	29.7	0.90	0.63	0.44	94720	97.35	31.50	31.13	89.70	0.62	0.35	1438.08	1600	11	899	11	1683	Rates high, reduced current to 35uA
5.9	2.5: O3 od O4s												10.74			21.89		18.3	1.3	0.6		1.19	0.74		110290	30.25	10.79	13.16	89.70	0.62	0.35	487.23	542	10	899	11	682
6.7	2: O2 ds												13.74			24.89		18.3	1.3	0.3		0.97	0.61		90854	5.33	2.19	3.18	89.70	0.62	0.35	96.07	107	8	899	11	268
	0.3: O4 d	Arc energy measurement
7.0		Configuration change																		8.0
7.0	1: O5 d	SHMS aerogel index change (remove n=1.015, install n=1.011)
7.0		Diligence required during HMS small angle movement
7.7	1.5: O5 s O6 o	10.588	2.10	4.4	2.74	0.3999	0.507	LH2	0.7148	17.08	-4.712	12.81	9.81	5.389	1.011	26.89	70	16.0	1.1	0.0	26.0	0.07	0.07	0.30	13468	34.92	13.28	13.24	9.27	0.62	0.055	57.78	614	10	94	7	322
8.5	2: O6 Xs O7XXs												12.81			29.89		16.0	1.1	0.3		0.11	0.10		19240	4.567	1.962	2.668	9.27	0.62	0.055	8.65	92	7	94	7	295
9.2	1.5: O8 od												15.81			32.89		16.0	1.1	0.3		0.10	0.07		13468	0.491	0.236	0.432	9.27	0.62	0.055	1.09	12	4	94	7	275
	SHMS and HMS singles rates recalculated for this point onward (see hclog 3603590)
11.0	4: O10 Xds O11 Xds O21 o	10.588	2.10	3.0	3.14	0.2504	0.219	LH2	0.6668	14.91	-4.204	9.42	9.42	6.053	1.011	24.33	70	40.4	2.8	0.6		0.34	0.21		76340	130.4	49.46	47.01	19.7	31.38	2.91	602.51	2269	12	266	9	817
12.8	4: O8ds O9 oMs O21 d												12.42			27.33	70	40.4	2.8	0.3		0.24	0.13		47258	174.1	7.3	9.59	19.7	31.38	2.91	507.22	1910	12	266	9	704
12.9		Diligence required during SHMS small angle movement																		0.5
15.5	8: O12 oXs O13 ods O14 o O21 ds O22 o												6.50			21.41	35	60.6	2.8	0.0	65.5	0.10	0.08	0.25	40897	401.5	130.6	87.1	9.9	15.7	1.45	822.16	6192	13	133	8	1076
17.8	8: O14 ds O15oX O16 Ms O17 ods O20 od	10.588	2.10	5.5	3.02	0.4003	0.503	LH2	0.5291	23.00	-3.266	9.56	6.50	6.842	1.011	29.50	70	51.4	3.6	0.6	83.3	0.021	0.021	0.40	9709	380.9	146.6	93.23	1.97	5.08	0.37	190.01	6207	13	31	6	434
17.8		Diligence required during SHMS small angle movement																		0.5
18.2	3: O15 s O16 o O20 s	Lumi scan																8.0
20.5	6: O17 s O18 od O19 ods												9.56			32.56		51.4	3.6	0.0		0.037	0.034		15719	43.4	19.28	17.87	1.97	5.08	0.37	24.66	806	10	31	6	274
22.8	4: O18 ds O19 d O20 o												12.56			35.56		51.4	3.6	0.3		0.021	0.021		9709	4.27	2.08	2.67	1.97	5.08	0.37	2.76	90	7	31	6	234
		Run efficiency multiplier			1.850
		Standard 5-pass check			Scheduled hours			528											525.3		211.7
		10.6 GeV E12-09-017 and E12-09-002 running follows

		THIS DOCUMENT IS FOR PLANNING PURPOSES ONLY. SHIFT WORKERS SHOULD FOLLOW THE DETAILED PDF.

0		Start special 2-pass 3.8
0.0		Configuration change during beam tune
0.0		SHMS aerogel index change (remove n=1.015, install n=1.03)
0.0		Diligence required during SHMS small angle movement
0.2		Superharp scan																4.0
0.3	N29 s	Beam steering studies								15.50			6.79	-3.007		22.29		4.0
0.3		SHMS polarity change (pos to neg) and cycle magnets
0.5	D4 s	Beam energy measurement with Arc																4.0
0.5
0.5		Diligence required during SHMS small angle movement																0.5
0.5	shms=N29 s; hms=D4 s	C-sieve slit data (both spectrometers)												(-)
0.5		In addition to optics check, be sure beam is centered on HMS hole, and is reproducible for each beam setting.
0.5		Need raster off!
0.7		3.835						C		13.00	-3.007		9.50	-3.007		22.50	10		2.0	2.0
0.7
0.7		Heep-check singles and coin
0.7		Heep Electron singles in both spectrometers																						#SHMS	#HMS	e-	pi-
0.7		3.835						LH2		21.14	-3.007		21.14	-3.007		42.28	70	0.25	0.2	0.2				900000	900000	31	1.94		26	0.21	0		33	6	26	5	2530
0.7		3.835						LH2		24.00	-2.834		24.00	-2.834		48.00	70	0.25	0.2	0.2				900000	900000	12	1.20		9.6	0.12	0		14	4	10	4	2580
0.7		3.835						LH2		26.00	-2.713		26.00	-2.713		52.00	70	0.25	0.2	0.2				900000	900000	7	0.90		5.1	0.09	0		8	4	5	3	1901
0.8		3.835						LH2		28.20	-2.583		28.20	-2.583		56.40	70	0.25	0.2	0.2				900000	900000	3.9	0.68		2.7	0.07	0		5	3	3	2	1820
0.8		3.835						LH2		30.00	-2.478		30.00	-2.478		60.00	70	0.25	0.2	0.2				900000	900000	2.5	0.56		1.7	0.05	0		3	2	2	0	2732
0.9	1: N29 s	TOTAL TIME																	3.3
1.0		Configuration change																		2.0
1.0		SHMS polarity change (neg to pos) and cycle magnets
1.0
1.0		Heep Coincidence (SHMS momentum)												(+)											#COIN
1.1	N30 o	3.835	1.86	3.398	0.98			LH2		38.60	-2.026	29.31	29.31	2.583		67.91	70	0.75	0.2	0.3		19.44			52488	0.99	0.22	2.53	0.25	0.027	0	0.10	4	2	1	0	1522
1.1
1.1
1.1	N30 o	Diligence required during SHMS small angle movement																		0.5
1.1		p(e,e'K) data taking												(+)
7.3	9: N30 ds D1 ods D2 ods D3 o. 9: D7 ds D8 ods D9 ods D10 o	3.835	1.86	0.5	2.40	0.0929	0.081	LH2	0.4515	21.14	-0.968	6.79	6.79	2.583	1.030	27.93	16	139.1	9.7	0.0	114.1	0.034	0.018	0.97	9154	465.60	58.90	102.74	4.98	178.01	3.44	2588.87	6272	13	413	10	2822
7.3		Diligence required during SHMS small angle movement																		0.5
11.0	11: D3 s D4 ods D5 ods D6 ods D7 o												9.79			30.93	24	83.4	5.8	0.0		0.048	0.027		8239	315.77	49.17	106.11	7.47	267.02	5.16	2916.30	4711	13	619	10	3152
		Run efficiency multiplier			1.950
		Special 3.8 check			Scheduled hours			264											262.1		114.1

		THIS DOCUMENT IS FOR PLANNING PURPOSES ONLY. SHIFT WORKERS SHOULD FOLLOW THE DETAILED PDF.

0		Start special 3-pass 4.9
0.0		Rotate SHMS to small angle during beam tune
0.2	D12 s	Superharp scan																4.0
0.3		Beam steering studies								15.50			6.00	-4.565		21.50		4.0
0.3		SHMS polarity change (pos to neg) and cycle magnets
0.5	D14 d	Beam energy measurement with Arc																4.0
0.5
0.7		Enter hall to move SHMS to larger angle																		4.0
0.7	D12 s	C-sieve slit data (both spectrometers)												(-)
0.7		In addition to optics check, be sure beam is centered on HMS hole, and is reproducible for each beam setting.
0.7	D12 s	Need raster off!
0.8		4.933						C		13.00	-3.000		9.50	-3.500		22.50	10		2.0	2.0													1	0	1	0	0
0.9		Unfortunately, need to cycle magnets after this check.																		1.0
0.9
0.9		Heep-check singles and coin
0.9	D12 s	Heep Electron singles in both spectrometers																						#SHMS	#HMS	e-	pi-
0.9		4.933						LH2		12.71	-4.371		8.86	-4.642		21.57	10	0.25	0.2	0.2				900000	900000	511	3.16		51	0.12			515	10	52	7	1804
0.9		4.933						LH2		15.00	-4.184		11.86	-4.436		26.86	35	0.25	0.2	0.2				900000	900000	299	4.03		51	0.19			303	9	52	7	1978
1.0		4.933						LH2		18.00	-3.923		15.00	-4.184		33.00	35	0.25	0.2	0.2				900000	900000	62	1.55		12	0.08			63	7	12	4	2341
1.0		4.933						LH2		34.20	-2.583		34.20	-2.583		68.40	70	0.70	0.2	0.2				1159200	277200	0.46	0.23		0.11	0.03			1	0	1	0	857
1.1		TOTAL TIME																	3.1
1.2		Configuration change																		2.0
1.2		SHMS polarity change (neg to pos) and cycle magnets
1.2
1.2	D13 o	Heep Coincidence (SHMS momentum)												(+)											#COIN
1.3		4.933	1.61	3.399	0.98			LH2		27.15	-3.124	33.50	33.50	2.583		60.65	70	0.5	0.25	1.0		30.58			55044	0.48	0.13	1.33	0.86	0.03	0	0.17	2	0	1	0	2838
1.3
1.3		p(e,e'K) data taking												(+)
3.2	6: D13 ds D14 ods D15 od	4.933	1.61	0.5	2.40	0.0929	0.081	LH2	0.6979	12.71	-2.066	8.86	8.86	2.583	1.030	21.57	13	42.7	3.0	0.3		0.211	0.073		38759	395.2	58.3	102.1	28.4	118.3	3.83	2935.47	5555	13	528	10	3174
4.1	6: D15 s D16 ods D17 o												11.86			24.57	24	19.2	1.3	0.3		0.368	0.150		35795	317.8	55.5	121.6	10.4	218.4	7.06	2747.73	4949	13	555	10	2977
4.2	0.5: D17 d	Enter hall to move SHMS to small angle																		4.0
7.2	8.5: D17 ds D18 ods D19 ods D20 o												6.00			18.71	8	66.1	4.6	0.0	75.3	0.125	0.043	0.29	35562	504.9	59.7	86.3	17.5	72.8	2.35	2116.59	6509	13	325	9	2402
		Run efficiency multiplier			1.700
		Special 4.9 check			Scheduled hours			168											169.4		0.0

		THIS DOCUMENT IS FOR PLANNING PURPOSES ONLY. SHIFT WORKERS SHOULD FOLLOW THE DETAILED PDF.

		To ensure adequate time for the 3.8, 4.9 GeV settings, 9.4 GeV running was replaced with different low epsilon Q2=5.5 setting in 8.5 GeV run.

0		Start special 5-pass 9.4
0.0		SHMS aerogel index change (remove n=1.03, install n=1.011)
0.0		Rotate SHMS to small angle during beam tune
0.2		Superharp scan																4.0
0.3		Beam steering studies								15.50			6.00	-6.842		21.50		4.0
0.3		SHMS polarity change (pos to neg) and cycle magnets
0.5		Beam energy measurement with Arc																4.0
0.5
0.6		Enter hall to move SHMS to larger angle																		2.0
0.6		C-sieve slit data (both spectrometers)												(-)
0.6		In addition to optics check, be sure beam is centered on HMS hole, and is reproducible for each beam setting.
0.6		Need raster off!
0.9		9.404						C		13.00	-5.000		9.50	-6.000		22.50	10	4.0		4.0
0.9
0.9		Heep-check singles and coin
0.9		Heep Electron singles in both spectrometers																						#SHMS	#HMS	e-
0.9		9.404						LH2		20.00	-5.861		15.70	-6.842		35.70	70	0.25	0.2	0.2				900000	225000	1.9			0.25				2	0	1	0	2150
1.0		9.404						LH2		22.00	-5.436		18.00	-6.309		40.00	70	0.30	0.2	0.2				648000	108000	0.6			0.10				1	0	1	0	700
1.0		9.404						LH2		24.00	-5.038		20.00	-5.861		44.00	70	0.60	0.2	0.2				432000	108000	0.2			0.05				1	0	1	0	250
1.1		9.404						LH2		24.00	-5.038		22.00	-5.436		46.00	70	0.60	0.2	0.2				216000	108000	0.1			0.05				1	0	1	0	150
1.2		TOTAL TIME																	3.4
1.3		Configuration change																		2.0
1.3		SHMS polarity change (neg to pos) and cycle magnets
1.3
1.3		Heep Coincidence (based only on sensitivity and coincidence rates)												(+)											#COIN
1.5		9.404	1.86	6.6	0.98			LH2		20.00	-5.861	27.23	27.23	4.382	1.011	47.23	70	3.0	0.3	1.0		1.21			13068				0.25			5.00	1	0	1	0	256
1.5
1.5		Hall entry to move SHMS to small angle would have been needed																		0.0
1.5		p(e,e'K) data taking												(+)
1.5		9.404	1.86	5.5	3.02	0.4003	0.503	LH2	0.3721	30.73	-2.082	7.96	6.00	6.842	1.011	36.73	70	0.0	0.0	0.0	96.2	0.017	0.011	0.92	0	72.57	33.41	18.41	0.585	2.4	0.112	13.53	1244	11	11	4	256
1.5		Hall entry to move SHMS to larger angle would have been needed																		0.0
5.8													7.96		1.011	38.69		96.2	6.7	0.3		0.020	0.018		6234	9.736	5.414	4.237	0.585	2.4	0.112	2.11	194	8	11	4	273
10.1													10.96			41.69		96.2	6.7	0.3		0.017	0.011		3810	0.606	0.393	0.452	0.585	2.4	0.112	0.16	15	5	11	4	206
		Run efficiency multiplier			2.000
		Special 9.4 check			Scheduled hours			240											238.1		96.2

		3-4 pass data taking deferred until Spring due to linac difficulties

		THIS DOCUMENT IS FOR PLANNING PURPOSES ONLY. SHIFT WORKERS SHOULD FOLLOW THE DETAILED PDF.

0		Start 3-pass 6.2
0.0		Configuration change during beam tune
0.0		Start with HMS set for neg polarity, SHMS for neg polarity, aerogel n=1.016, small angle beampipe installed and spectrometer rotations certified.
0.1		Superharp scan																2.0
0.2	M22 s	Beam energy measurement with Arc																2.0
0.2
0.2		C-sieve slit data (both spectrometers)												(-)
0.2		In addition to optics check, be sure beam is centered on HMS hole, and is reproducible for each beam setting.
0.2		Need raster off!
0.3	M23 o	6.183						C		13.00	-3.939		9.50	-3.939		22.50	10	1.0		1.0
0.3
0.3		LH2 and C z=0 Luminosity scans																							#HMS/SHMS	e-	pi-
0.3		6.183						LH2		12.10	-3.939		11.00	-3.939		23.10	70	0.2		0.1					125000	513	135		275	43.9			648	10	284	9	2367
0.3		6.183						C									70	0.2		0.1					125000
0.3		6.183						C		12.10	-3.939		11.00	-3.939		23.10	50	0.2		0.1					125000
0.3		6.183						LH2									50	0.2		0.1					125000	366	96		196	31			462	10	202	8	2469
0.3		6.183						LH2		12.10	-3.939		11.00	-3.939		23.10	30	0.2		0.1					125000	220	58		118	19			278	9	122	8	2025
0.3		6.183						Dummy									30		0.2	0.1
0.3		6.183						C									30	0.2		0.1					125000
0.4		6.183						C		12.10	-3.939		11.00	-3.939		23.10	15	0.2		0.1					125000
0.4		6.183						LH2									15	0.2		0.1					125000	110	29		59	9			139	8	61	7	2014
0.4		6.183						LH2		12.10	-3.939		11.00	-3.939		23.10	5	0.2		0.1					125000	37	10		19.6	3			47	6	20	5	2603
0.4		6.183						C									5	0.2		0.1					125000
0.5	M23 od	TOTAL TIME																	3.3
0.5
0.5		Heep-check singles and coin
0.5		Heep Electron singles in both spectrometers																						#SHMS	#HMS	e-	pi-
0.6		6.183						LH2		24.00	-3.939		24.00	-3.939		48.00	70	0.2	0.2	0.2				720000	504000	1.64	0.159		0.70	0.016			2	0	1	0	2502
0.6		6.183						LH2		26.00	-3.709		26.00	-3.709		52.00	70	0.2	0.2	0.2				662400	266400	0.92	0.123		0.37	0.012			1	0	1	0	1415
0.6		6.183						LH2		28.00	-3.491		28.00	-3.491		56.00	70	0.3	0.2	0.2				572400	216000	0.53	0.100		0.20	0.0093			1	0	1	0	832
0.6		6.183						LH2		30.00	-3.284		30.00	-3.284		60.00	70	0.5	0.2	0.2				594000	216000	0.33	0.085		0.12	0.008			1	0	1	0	537
0.8	M23 od	TOTAL TIME																	2.8
0.8		Configuration change																		2.0
0.8		SHMS polarity change (neg to pos) and cycle magnets. Cycle HMS magnets as well.
0.8
0.8		Heep Coincidence (HMS angle and SHMS momentum delta=+2.5%)												(+)											#COIN
0.9	M23 s	6.183	2.02	4.99	0.98			LH2		27.25	-3.571	28.53	28.53	3.486	1.015	55.78	70	1.1	0.2	1.0		12.6			49896	0.133	0.049	0.357	0.252	0.0102		0.01	1	0	1	0	806
0.9
0.9		p(e,e'K) data taking												(+)
0.9		Note1: -3deg Q2=3.0 setting is not part of PAC proposal, but included in the runplan request, in lieu of other setting requested but not scheduled. In the end, don't do it, move time to Q2=2.11
0.9		6.183	2.02	3.0	2.32	0.3999	0.531	LH2	0.5736	27.25	-2.185	13.28	10.28	3.486	1.015	37.53	45	0.0	0.0	0.0	18.0	0.09	0.045	0.96	0	402.9	93.9	140.7	2.22	7.96	0.266	246.65	6375	13	39	6	520
1.5	1: M23 s M24 o												13.28			40.53	70	12.0	0.8	1.0		0.14	0.070		3136	194.4	51.6	102.0	3.46	12.38	0.414	209.45	3480	13	60	7	387
2.1	1: M24 od												16.28			43.53	70	12.0	0.8	0.3		0.14	0.070		3140	56.6	16.5	42.6	3.46	12.38	0.414	69.64	1157	11	60	7	275
		Cycle SHMS magnets																		0.7
3.4	2.2: M24 ds M25 o	6.183	2.02	2.115	2.95	0.2128	0.175	LH2	0.2477	36.15	-0.888	-5.48	8.48	4.983	1.015	44.63	70	30.0	2.1	0.0	30.0	0.029	0.021	0.96	2330	134.1	45.9	52.8	1.02	220.3	4.80	1071.81	2328	12	460	10	1275
3.5	0.3: M25 d	Enter hall to move SHMS to small angle																		2.0
5.4	4: M25 s M26 os M27 o												6.20			42.35	55	42.0	2.9	0.3		0.031	0.022		3534	383.4	109.8	94.0	0.80	173.1	3.77	2124.02	5872	13	362	9	2408
5.4		Run efficiency multiplier			2.000
		Add Q2=2.2 setting: add (15+1.1+15+1.1)*2+8.3=72.4 hours (50% efficiency) to this beam period
		3-pass check			Scheduled hours			132											126.7		48.0
		8.2 GeV E12-09-017 running follows

		THIS DOCUMENT IS FOR PLANNING PURPOSES ONLY. SHIFT WORKERS SHOULD FOLLOW THE DETAILED PDF.

0		Start 4-pass 8.2
0.0	M27 d	SHMS aerogel index change (remove n=1.015, install n=1.011)
0.0		SHMS polarity change (pos to neg), cycle magnets and move SHMS to larger angle.
0.1		Superharp scan																2.0
0.2	M28 d	Beam energy measurement with Arc																2.0
0.2
0.2		C-sieve slit data (both spectrometers)												(-)
0.2		In addition to optics check, be sure beam is centered on HMS hole, and is reproducible for each beam setting.
0.2		Need raster off!
0.3	M27 s	8.204						C		13.00	-5.745		9.50	-5.745		22.50	10	1.0		1.0
0.3
0.3
0.3		LH2 and C z=0 Luminosity scans																							#HMS/SHMS	e-	pi-
0.3		8.204						LH2		13.00	-5.745		9.50	-5.745		22.50	70	0.2		0.1					125000	641	51		137	3.4			692	10	138	8	2416
0.3		8.204						C									70	0.2		0.1					125000
0.3		8.204						C		13.00	-5.745		9.50	-5.745		22.50	50	0.2		0.1					125000
0.3		8.204						LH2									50	0.2		0.1					125000	458			98				458	10	98	7	2400
0.3		8.204						LH2		13.00	-5.745		9.50	-5.745		22.50	30	0.2		0.1					125000	275			59				275	9	59	7	1978
0.3		8.204						Dummy									30		0.2	0.1
0.3		8.204						C									30	0.2		0.1					125000
0.4		8.204						C		13.00	-5.745		9.50	-5.745		22.50	15	0.2		0.1					125000
0.4		8.204						LH2									15	0.2		0.1					125000	137			29.5				137	8	30	6	1956
0.4		8.204						LH2		13.00	-5.745		9.50	-5.745		22.50	5	0.2		0.1					125000	46			9.8				46	6	10	4	2483
0.4		8.204						C									5	0.2		0.1					125000
0.5	M28 o	TOTAL TIME																	3.3
0.5
0.6		Need to cycle magnets in both spectrometers																		1.0
0.6		Heep-check singles and coin
0.6		Heep Electron singles in both spectrometers												(-)										#SHMS	#HMS	e-	pi-
0.6		8.204						LH2		18.00	-5.745		18.00	-5.745		36.00	70	0.2	0.2	0.2				720000	720000	4.25	0.12		1.82	0.0113			4	3	2	0	2696
0.6		8.204						LH2		20.00	-5.372		20.00	-5.372		40.00	70	0.2	0.2	0.2				720000	540000	1.91	0.075		0.75	0.0068			2	0	1	0	2736
0.7		8.204						LH2		22.00	-5.013		22.00	-5.013		44.00	70	0.4	0.2	0.2				1339200	489600	0.93	0.052		0.34	0.0046			1	0	1	0	1323
0.7		8.204						LH2		24.00	-4.672		24.00	-4.672		48.00	70	0.8	0.2	0.2				1382400	489600	0.48	0.040		0.17	0.0034			1	0	1	0	691
0.8		8.204						LH2		26.00	-4.352		26.00	-4.352		52.00	70	1.5	0.2	0.2				1404000	464400	0.26	0.032		0.086	0.0028			1	0	1	0	379
1.0	M28 d	TOTAL TIME																	5.1
1.0
1.1		Configuration change																		2.0
1.1		SHMS polarity change (neg to pos) and cycle SHMS+HMS magnets
1.1
1.1		Heep Coincidence (close to HMS angle)												(+)					1.0						#COIN
1.3	M28 d	8.204	2.02	6.62	0.98			LH2		24.00	-4.672	25.77	25.77	4.371		49.77	70	2.8	0.3	1.0		5.41			53754	0.48	0.025	0.134	0.166	0.0034	0	0.01	1	0	1	0	811
1.3
1.3		p(e,e'K) data taking												(+)
1.3		Note1: -3deg Q2=3.0 setting is not part of PAC proposal, but included in the runplan request, in lieu of other setting.
1.3		Note2: -3deg Q2=4.4 setting was also included in runplan request (but not PAC proposal), but there seems to be not enough time to do it.
		Cycle SHMS magnets																		0.7
1.3		8.204	2.02	4.4	2.74	0.3999	0.507	LH2	0.4805	27.77	-2.328	10.01	7.01	5.389	1.011	34.78	70	0.0	0.0	0.0	36.6	0.050	0.036	0.93	0	551.3	176.1	138.0	1.50	9.93	0.47	309.81	8654	14	36	6	524
2.0	4.5: M28 s M29 ods M30 o												10.01			37.78		16.3	1.1	0.6		0.040	0.050		2524	98.6	37.0	41.3	1.50	9.93	0.47	63.33	1769	12	36	6	258
2.8	4.5: M30 ods M31 od												13.01			40.78		16.3	1.1	0.3		0.038	0.036		2283	15.7	6.5	10.0	1.50	9.93	0.47	11.53	322	9	36	6	245
		Cycle SHMS magnets																		0.7
4.6	11: M31 s A1 ods A2 ods A3 ods	8.204	2.02	3.0	3.14	0.2504	0.219	LH2	0.3935	25.89	-1.821	6.91	6.91	6.053	1.011	32.80	70	40.2	2.8	0.6	140.7	0.100	0.054	0.96	8198	267.3	100.4	75.4	2.39	84.90	4.15	895.06	4431	13	202	8	1160
6.4	11: A4 ods A5 ods A6 ods A7 od												9.91			35.80		40.2	2.8	0.3		0.060	0.040		6077	38.0	16.7	18.0	2.39	84.90	4.15	146.85	727	10	202	8	445
6.4		The 6 deg run below is canceled due to late start up, saving (46.9+3.3)*2+2.0=102.4 hr (4 day)
6.4													6.20			32.09		0.0	0.0	0.0		0.060	0.040		0	463.3	162.7	108.5	2.39	84.90	4.15	1483.69	7345	14	202	8	1730
6.4		These two Q2=5.5 low epsilon settings are in lieu of 9.4 GeV setting due to linac difficulties. Need to compromise on W=3.02 due to cryomodule failure.
		Cycle SHMS magnets																		0.7
8.2	11: A7 s A8 ods A9 ods A10 ods A11 o	8.204	2.02	5.5	2.995	0.4047	0.514	LH2	0.1838	49.31	-0.962	5.50	8.50	6.755	1.011	57.81	70	40.1	2.8	0.0	96.2	0.0040	0.0036	0.92	525	33.2	16.0	14.9	1.15	33.8	0.58	51.45	641	10	80	7	300
8.3	0.3: A11 d	Enter hall to move SHMS to small angle																		2.0
10.1	11.5: A11 ds A12 ods A13 ods A14 ods A15 o												6.20		1.011	36.93		40.1	2.8	0.0		0.0089	0.0037		527	195.2	81.0	54.2	1.15	33.8	0.58	265.18	3304	13	80	7	469
		Run efficiency multiplier			1.000
		Removed Q2=2.2 setting, (45.0+3.3)*2+0.9=97.5 hr, from this run period. Net saving=36.6 hr (50% efficiency).
		Removed 9.4 GeV running (240 hr), but added Q2=5.5 (96.2+6.8)*2+2=208hr to this run period. Net saving=34hr.
		Removed 102.4+97.5=199.9 hr (8.3 day) (50% efficiency) from this beam period. Then add Q2=5.5, 208 hr.
		Mar 11: need to remove yet another 2.5 days, due to cryomodule failure.
		4-pass check			Scheduled hours			480											235.1		177.3

		Grand Total						1572											1318.6		551.1

		THIS DOCUMENT IS FOR PLANNING PURPOSES ONLY. SHIFT WORKERS SHOULD FOLLOW THE DETAILED PDF.