## Slide 1: VMM3 high rate test in X-rays

## Slide 2: Goal of test
Study behavior of VMM3 in high background environment

## Slide 3: Test setup
2 GEM chambers
2 scintillator triggers
X-ray source
SBS chambers 50 cm x 60 cm
  2048 x 2048 strips
10 cm x 10 cm
  256 x 256 strips ?
X-rays

## Slide 4: VMM3 eval board
12 direct outputs
Need 4 boards for 2 GEMs
12 x 250 um = 3 mm

## Slide 5: Other option
VMM3 carrier board
Start with MAROC3 design
  64 channels
  Direct output to FPGA TDC
10 cm x 10 cm = 512 strips = 8 VMM3
50 cm x 60 cm = 4096 strips = 64 VMM3
Is that realistic for November 2020 ?
High rate test completion planned for April 2021 ( 2 months of float )