## Slide 1: Trigger Design for The High-Rate Beam Test in Hall C
Jixie Zhang

## Slide 3
table
Trigger Type 1 (bit 001)
and
and
top
left
right
Preshower
Shower
top
left
right
sum of 3 shower blocks
Low rate trigger setup (Hall C beam-left 82.2 deg)
sideview
frontview
SC0
top PMT
bottom PMT
SC1
top PMT
bottom PMT
frontview
GEM
GEM
Preshower
Shower
SPDs
Trigger Type 2 (bit 010)
Trigger Type 3 (bit 100)
and
and
Cherenkov
(length not to scale)
All discriminator threshold is around 18.2 mV

## Slide 4
High rate (current) detector layout (Hall C beam-right 7 deg)
List of Detectors (From upstream to downstream):
GEM_00, GEM01;
SC_A (5cm (x) x 7.5cm(y) x 1cm), Cherenkov;
GEM_10,GEM_11;
SC_C (trapezoid shape: 3.5cm wide top side (at end tip, in hall y direction) and 5.5cm wide bottom side (connected to light guide), 18cm height (in hall x direction), 2cm thick);
LASPD, SC_D (Kedi-6 preshower tile, 6.35cm side length hexagon, 2cm thick);
PreShower: Preshower_T(SDU#2), Preshower_left(SDU#1), Preshower_right(THU#1);
Shower: Shower_T(SDU#5), Shower_L(SDU#4), Shower_R(THU#4);
SC_B: (5cm(x) x 10cm(y) x 1cm)
right
Preshower
top
left
frontview
LASPD
table
sideview
GEM
GEM
Cherenkov
(length not to scale)
SC_A
SC_C
PreShower
Shower
(not to scale)
SC_D
Shower
top
left
right
frontview
SC_B
SC_B
sum of 3 shower blocks

## Slide 5
High rate (current) detector layout (Hall C beam-right 7 deg)
List of Detectors (From upstream to downstream):
GEM_00, GEM01;
SC_A (5cm (x) x 7.5cm(y) x 1cm), Cherenkov;
GEM_10,GEM_11;
SC_C (trapezoid shape: 3.5cm wide top side (at end tip, in hall y direction) and 5.5cm wide bottom side (connected to light guide), 18cm height (in hall x direction), 2cm thick);
LASPD, SC_D (Kedi-6 preshower tile, 6.35cm side length hexagon, 2cm thick);
PreShower: Preshower_T(SDU#2), Preshower_left(SDU#1), Preshower_right(THU#1);
Shower: Shower_T(SDU#5), Shower_L(SDU#4), Shower_R(THU#4);
SC_B: (5cm(x) x 10cm(y) x 1cm)
right
Preshower
top
left
frontview
LASPD
table
sideview
GEM
GEM
Cherenkov
(length not to scale)
SC_A
SC_C
PreShower
Shower
(not to scale)
SC_D
SC_B
Trigger Type 1 (bit 001)
and
Trigger Type 2 (bit 010)
Trigger Type
3 (bit 100)
any 2 out of these 3 inputs
and
Shower
top
left
right
frontview
SC_B
sum of 3 shower blocks

## Slide 6
High rate trigger type 1: primary electron trigger (sum_cer & sum_shower)
Sum/FIFO_0(0)
cer_0,1,2,3
Sum/FIFO_0(1)
cer_4,5,6,7
Sum/FIFO_0(3)
cer_12,13,14,15
Sum/FIFO_0(2)
cer_8,9,10,11
Sum
FIFO_2(3)
FIFO_2(0)
sh_l
FIFO_2(1)
sh_r
FIFO_2(2)
sh_t
FADC_1 (10,11,12)
DS_0(1)
DS_0(3)
Logic_0(1)
“and”
TI_0(1)
DS_0(4)
Separate each DSC channel for different threshold control to each trigger type
Sum
FIF0_1(3)
All 16 Cherenkov MaPMT channels (after x10 amplifier) go to one FADC board
All inputs are after x10 amplifier
DS_0(2)
Go to trigger type 3
DS_0(5)
Cherenkov_sum
Shower_sum
Go to trigger type 2
Go to trigger type 4
DS_0(14)

## Slide 7
High rate trigger type 2: pion trigger (scintillator & sum_shower)
Logic_0(2)
“and”
TI_0(2)
Sum
FIFO_4(3)
FIFO_4(0)
PreSh_0
FIFO_4(1)
PreSh_1
FIFO_4(2)
PreSh_2
FADC_1 (7,8,9)
DS_0(9)
DS_0(4)
shower_sum
DS_0(6)
SC_B
FIFO_3(1)
SC_D
FADC_1(0,2)
FIFO_3(0)
DS_0(8)
DS_0(7)
(behind shower)
Go to trigger type 3
DS_0(15)
Go to trigger type 5

## Slide 8
High rate trigger type 3: efficiency trigger, any 2 out of 3 inputs
Cherenkov_sum,
DS_0(2)
Shower_sum,
DS_0(5)
SC_D,
DS_0(8)
Logic_0(3)
“2_out_of_ 3”
TI_0(3)

## Slide 9
High rate trigger type 4,5,6:
Shower_sum,
DS_0(14)
SC_B,
DS_0(15)
FADC Slot7,
2 out of 15
TI_0(5)
TI_0(4)
TI_0(6)
This one will replace Cherenkov sum eventually

## Slide 10
trigger type without prescale
Threshold:
Cer_Sum(30mV),
Shower_Sum(10mV),
SC_D(Kedi6-Tile,10mV),
SC_B(downstream of Shower,10mV)

## Slide 11
trigger type after prescale facor for trigger bit 1-6: (0,0,5,3,3,0)
Threshold:
Cer_Sum(30mV),
Shower_Sum(10mV),
SC_D(Kedi6-Tile,10mV),
SC_B(downstream of Shower,10mV)
Threshold:
Cer_Sum(100mV),
Shower_Sum(10mV),
SC_D(Kedi6-Tile,10mV),
SC_B(downstream of Shower,10mV)

## Slide 12
Back up

## Slide 13
Cosmic 3
Check all detectors
(not Cherenkov)

## Slide 14
Tune beam on
Carbon Hole target
Cherenkov

## Slide 15
Tune beam on
Carbon Hole target
SC
PreShower
Shower

## Slide 16
2uA CW beam on
Carbon hole.
Beam scraped the beam pipe

## Slide 17
2uA CW beam on
Carbon hole.
Beam scraped the beam pipe

## Slide 18
CAEN N625