## Slide 1: SHMS Defocused Hodoscope Calibration
Pion LT Analysis Meeting
Jacob Murphy

## Slide 2: Run 11799 Calibration
Defocused run taken at start of experiment September 2021
TW and Velocity parameters used in replay of later runs
  Compared to ‘Focused’ Runs, where parameters are found by calibrating that run
Quantitative measure of calibration effectiveness: Beta’s sigma
  According to Dave M., beta’s sigma should be around 0.028
  This value uses known separation of planes and paddle time resolution
  Best value achieved in calibration fit (by Dave M.) was sigma of 0.0529
  Current fitting method I implement is rough estimate
    May need gaussian background added to fit

## Slide 3: Defocused 14050 Focused
NO. NAME VALUE ERROR SIZE DERIVATIVE
1 Constant 1.18078e+04 5.59337e+01 -4.48507e-01 5.48039e-06
2 Mean 9.81781e-01 2.03772e-04 -1.82033e-07 -7.71369e-01
3 Sigma 6.39686e-02 2.25288e-04 2.91462e-06 3.53212e-02
NO. NAME VALUE ERROR SIZE DERIVATIVE
1 Constant 1.16479e+04 5.62577e+01 1.98552e+00 -2.03809e-06
2 Mean 9.93639e-01 2.02114e-04 1.05809e-05 1.41787e-01
3 Sigma 6.20702e-02 2.22347e-04 2.86950e-05 -9.92202e-02

## Slide 4: Defocused 14050 Focused

## Slide 5: Defocused 14050 Focused

## Slide 6: Defocused 14050 Focused

## Slide 7: Extra Slides

## Slide 8: Current Hodoscope Param Files
Run | Beam Energy | Kinematic | Date | HMS/SHMS? | Comment
11799 | 9.2 | Beam Checkout | 21/09/07 | SHMS | Defocused
12055 | 9.2 | Q2 1.6, W 3.08, Center | 21/09/15 | SHMS | Focused
13030 | 9.2 | Q2 8.5, W2 2.79 | 21/11/04 | HMS and SHMS | Late in 9.2
13080 | 6 | Q2 3.85, W 2.02 | 21/11/08 | HMS and SHMS | 
13212 | 9.9 | Q2 3.85, W 3.07, Center | 21/11/12 | SHMS | 
13400 | 9.9 | Q2 6.0, W 3.19, Center | 21/11/21 | HMS and SHMS | Late in 9.9
14500 | 8 | Q2 5, W 2.95, Left | 22/01/24 | HMS and SHMS | Late in 8

## Slide 9: Run 13030 Beta vs Delta

## Slide 10: Run 13030 Beta vs Xfp

## Slide 11: Run 13030 Beta vs Yfp

## Slide 12: SHMS Hodoscope Calibrations
Calorimeter calibrations not in-place
  Were not many calibrations during online running (maybe only initial, need to confirm)
Significant improvement in negative Delta/Xfp
  Dave Mack and Carlos’ changes are apparent in these runs as well
Six completed calibrations
  At least one per beam energy
  13030, 13080, and 13400 (only new) are seen here

## Slide 13: Run 13030 Beta

## Slide 14: Run 13030 Beta vs Delta

## Slide 15: Run 13030 Beta vs X_fp

## Slide 16: Run 13030 Beta vs Y_fp

## Slide 17: Run 13080 Beta

## Slide 18: Run 13080 Beta vs Delta

## Slide 19: Run 13080 Beta vs X_fp

## Slide 20: Run 13080 Beta vs Y_fp

## Slide 21: Run 13400 Beta

## Slide 22: Run 13400 Beta vs Delta

## Slide 23: Run 13400 Beta vs X_fp

## Slide 24: Run 13400 Beta vs Y_fp