## Slide 1: Hodoscope Calibration Update
Pion LT Analysis Meeting
Jacob Murphy

## Slide 2: Hodoscope Analysis Batch Script
Now running with most recent hodoscope calibration scripts
  Will push to farm this afternoon
  Note only SHMS calibration has changed at present
Set to run from user’s directory rather than online analysis
  Can be adjusted by switching out a commented line
Run periods are a work in-progress
  Currently have custom database script for all runs after 11823
  Database from online has ~6 different run periods for different HMS calorimeter calibrations
  Junaid, Nathan, and myself will need to work out how often we need new param files

## Slide 3: Current Hodoscope Param Files
Run | Beam Energy | Kinematic | Date | HMS/SHMS? | Comment
11799 | 9.2 | Beam Checkout | 21/09/07 | SHMS | Defocused, might be old
12055 | 9.2 | Q2 1.6, W 3.08, Center | 21/09/15 | SHMS | Focused
13030 | 9.2 | Q2 8.5, W2 2.79 | 21/11/04 | HMS and SHMS | Late in 9.2
13080 | 6 | Q2 3.85, W 2.02 | 21/11/08 | HMS and SHMS | 
13212 | 9.9 | Q2 3.85, W 3.07, Center | 21/11/12 | SHMS | 
13400 | 9.9 | Q2 6.0, W 3.19, Center | 21/11/21 | HMS and SHMS | Late in 9.9
14500 | 8 | Q2 5, W 2.95, Left | 22/01/24 | HMS and SHMS | Late in 8

## Slide 4: HMS Hodoscope Calibrations
At present, do not point to correct calorimeter param file
  This affects the calorimeter cuts in both the time-walk and velocity calibrations
Not expecting major improvements
  Calibration during online running was solid
Four completed calibrations
  One per beam energy
  Only 9.2 (13030) plots seen here
Beta vs Xfp is odd, does not match live plots
  Will investigate further

## Slide 5: Run 13030 Beta vs Delta

## Slide 6: Run 13030 Beta vs Xfp

## Slide 7: Run 13030 Beta vs Yfp

## Slide 8: SHMS Hodoscope Calibrations
Calorimeter calibrations not in-place
  Were not many calibrations during online running (maybe only initial, need to confirm)
Significant improvement in negative Delta/Xfp
  Dave Mack and Carlos’ changes are apparent in these runs as well
Six completed calibrations
  At least one per beam energy
  13030, 13080, and 13400 (only new) are seen here

## Slide 9: Run 13030 Beta

## Slide 10: Run 13030 Beta vs Delta

## Slide 11: Run 13030 Beta vs X_fp

## Slide 12: Run 13030 Beta vs Y_fp

## Slide 13: Run 13080 Beta

## Slide 14: Run 13080 Beta vs Delta

## Slide 15: Run 13080 Beta vs X_fp

## Slide 16: Run 13080 Beta vs Y_fp

## Slide 17: Run 13400 Beta

## Slide 18: Run 13400 Beta vs Delta

## Slide 19: Run 13400 Beta vs X_fp

## Slide 20: Run 13400 Beta vs Y_fp