## Slide 1: New SHMS Hodoscope Calibrations: Run 12055
04/19/2022

## Slide 2: Calibration Changes
Hard-cut on paddle offsets adjusted by Dave Mack
  MAJOR fix
New velocity constraints implemented by Carlos Yero
Time Walk tdc Threshold Parameter raised
  High-end beta-tail improvement
  Also can be implemented with HMS

## Slide 3: Carlos’ Summary Plot

## Slide 4: Paddle Offset Hard Cut Adjustment in in fitHodoCalib.C
Cut changed from 100 to 200

## Slide 5: Dave’s Graphic on the Old Hard Cuts

## Slide 6: Velocity Constraints in fitHodoCalib.C

## Slide 7: Velocity Params Old

## Slide 8: Velocity Params New

## Slide 9: Raised TDC Threshold Fit Parameter in timewalkCalib.C
120->1200

## Slide 10: Delta Old Calibration

## Slide 11: Delta New Calibration

## Slide 12: Xfp Old Calibration

## Slide 13: Xfp New Calibration

## Slide 14: Yfp Old Calibration

## Slide 15: Yfp New Calibration